## Slide 1: Applications of Flow Cytometry
Miroslav Hájek
Biochemical Pharmacology
IOCB Flow Cytometry Workshop, 7th November 2017

## Slide 2: Applications of Flow Cytometry
Cell Cycle Analysis
Proliferation (Dye-dilution, Ki-67, EdU)
Apoptosis Detection (Annexin V, JC-1, caspases)
Immunophenotyping (Cell Surface Antigens, Markers)
Intracellular Analysis (Cytokine Staining Assay)
Topics Overview

## Slide 3: Cell Cycle Analysis
DNA Analysis: Workflow
DNA Probes: The fluorescence is proportional to the amount of DNA in the cell
G0/G1
G2
M
G1
S phase
DNA content
1
G2M
G1
1
2
DNA staining
+ flow cytometric analysis
RAW data
Fitting software such as ModFit LT (Verity Software House) used to quantify cell cycle distribution of proliferating cells precisely

## Slide 4: Cell Cycle Analysis
DNA-binding dyes: Stoichiometric binding to DNA allows quantitation
Cell-impermeant dyes (Dead Cell Stains)
Propidium iodide (PI)
7-Aminoactinomycin D (7-AAD)
SYTOX Stains (Blue, Green, Orange, Red)
DAPI
TO-PRO
Cell-permeant dyes (Vital Stains)
Hoechst 33342
Hoechst 33258
DRAQ5
SYTO Stains (Blue, Green, Orange, Red)
Permeant/Impermeant
DNA/DNA & RNA

## Slide 5: Cell Cycle Analysis
DNA staining protocols
Cell fixation and permeabilization (ethanol) + addition of DNA fluorochrome (PI) + RNase treatment: Prolonged sample storage (several weeks at 4 C), gives good DNA histogram profiles (low coefficient of variation, CV), cell clumping, higher cell loss, incompatible with fluorescent proteins (GFP, PE, APC, PerCP) and some surface markers
Permeabilization with detergents (Triton X-100, NP-40, saponin) + PI + RNase treatment: If not fixed with paraformaldehyde, samples have to analyzed within 1 hour after preparation; can be combined with intracellular staining
Live cell cycle analysis (Hoechst dyes, DRAQ5™, DyeCycle dyes): Some cell types can efficiently pump out the dyes, CV’s are higher

## Slide 6: Cell Cycle Analysis
Doublet discrimination
http://flowbook.denovosoftware.com/chapter-6-dna-analysis
Voltage Intensity 
Peak Height, Width, Area
Propidium iodide - Area
FSC  Cell Size
G2
G1
Propidium iodide - Width
Propidium iodide - Area
Aggregate discrimination dotplot
- removing doublets using pulse geometry

## Slide 7: Cell Cycle Analysis
Data Analysis: Coefficient of Variance (CV)
Cell cycle analysis:  300 events/s
Less overlap between the G0/G1 and S, G2/M and S
Low speed acquisition (narrow stream)/RNA removal
More accurate DNA measurements
%CV = (SD/Mean channel #) x 100
Lower CV’s (more tight G0/G1, G2/M peaks on histogram)
A %CV lower than 8 is considered good

## Slide 8: Cell Cycle Analysis
Data Analysis: Coefficient of Variance (CV)
More accurate DNA measurements
CV = (SD/Mean channel #) x 100
Phenotype analysis:  500 events/sec
HeLa cells, w/ RNase A treatment
HeLa cells, w/o RNase A treatment
a measure of goodness of the fit

## Slide 9: Cell Cycle Analysis
Limitations of one-parametric DNA histograms: Example 1
SH-SY6Y cells: differentiation induced by retinoic acid (ATRA)
control
+ ATRA

## Slide 10: Cell Cycle Analysis
T47D cells: estrogen dependent breast cancer cell line
Normal serum
Charcoal serum
Limitations of one-parametric DNA histograms: Example 2

## Slide 11: Cell Cycle Analysis
Multiparametric cell cycle analysis: DNA & RNA content
Impossible to distinguish between G0 and G1, G2 and M phases
Discrimination G0 and G1 cell populations
using DNA and RNA analysis with Hoechst 33342 and Pyronin Y
Hoechst 33342 (DNA)
Pyronin Y (RNA)
Proliferating cells usually contain higher levels of RNA compared to resting/quiescent cells.
DNA & RNA content analysis in 70 % EtOH fixed/permeabilized cells using Hoechst 33342/Pyronin Y double staining

## Slide 12: Cell Cycle Analysis
DNA content analysis in PFA fixed/0.1% Triton X-100 permeabilized cells using a is cell-impermeant dye (PI, 7-AAD, SYTOX Green, etc.) in combination with labeled anti-cyclin D antibody
Multiparametric cell cycle and intracellular analysis
Impossible to distinguish between G0 and G1, G2 and M phases
Discrimination G0 and G1 cell populations
The lack of cyclin D and cyclin E expression among the cells with G1 content marks the non-cycling G0 cells

## Slide 13: Cell Cycle Analysis
DNA content analysis in PFA fixed/0.1% Triton X-100 permeabilized cells using a is cell-impermeant dye (PI, 7-AAD, SYTOX Green, etc.) in combination with anti-phospho-histone H3 antibody
Multiparametric cell cycle and intracellular analysis
Impossible to distinguish between G0 and G1, G2 and M phases
Discrimination G2 and M cell populations
Histone H3 phosphorylated at Ser-10 appears to be the best marker for mitosis

## Slide 14: Cell Cycle and Cell Proliferation Analysis
DNA content analysis in 70 % EtOH fixed/permeabilized cells using a is cell-impermeant dye (PI, 7-AAD, SYTOX Green, etc.) in combination with labeled anti-Ki-67 antibody
Multiparametric cell cycle and intracellular analysis: Ki-67
Discrimination G0 and G1 cell populations
Flow cytometric analysis of Ki-67 determines the growth fraction
Simultaneous analysis of proliferation specific marker (Ki-67) and cellular DNA content, which discriminate resting/quiescent cell populations (G0 cell) and quantify cell cycle distribution
(G1, S, or G2/M), respectively.
Double staining of Ki-67 and Propidium Iodide
PI
Ki-67
Isotype control

## Slide 15: Cell Proliferation
Ki-67 Staining: Assessment of Fraction of Proliferating Cells within the Spheroids and 2D cultures
75.1%
34.6%
Isotype control
T47D cells growing in 2D
3D culture of T47D (11 d.)
PI
Ki-67
Spheroids are 3D cell culture models of in vivo solid tumors that are more predictive of drug responses
75.1%
Isotype control

## Slide 16: Cell Proliferation
Ki-67 Staining: Assessment of Fraction of Proliferating Cells within the Spheroids and 2D cultures
75.1%
34.6%
Isotype control
T47D cells growing in 2D
3D culture of T47D (11 d.)
PI
Ki-67
Spheroids are 3D cell culture models of in vivo solid tumors that are more predictive of drug responses
75.1%
Isotype control

## Slide 17: Cell Proliferation
Ki-67 Staining Combined with Phenotyping
Ki-67
CD3+
CD19+
0.9 % of CD3+
1.9 % of CD19+
35.8 % of CD3+
8.2 % of CD19+
PBMCs stimulated with anti-CD3/CD28 antibodies, cells analyzed after 3 days of treatment
Assessment of Fraction of Proliferating CD3+ and CD19+ Cells after Activation

## Slide 18: Cell Proliferation
Dye-Dilution Method: Monitoring Cell Proliferation by Generational Tracing
http://www.thermofisher.com/cz/en/home/references/newsletters-and-journals/bioprobes-journal-of-cell-biology-applications/bioprobes-73/bioprobes-73-cell-proliferation-generational-tracing.html
Proliferation Fluorescent Dyes:
CellTraceTM series, PKH26, PKH67, CellVue® Claret, etc.
Bright, non-toxic (titration), readily taken up by the cells, distributed equally between daughter cells
Use the proper controls (unstained, positive control)
Titrate your dye
Collect enough cells to accurately model the data
Exclude apoptotic/dead cells and aggregates from the analysis
As the cell divide,
the dye is diluted out

## Slide 19: Cell Proliferation
Dye-Dilution Method: Monitoring Cell Proliferation by Generational Tracing
Cells stained and stimulated and/or treated with a test compound
During analysis gated via FSC vs SSC dotplot and “dead cell stain” vs FSC dotplot
CellTrace fluorescence deconvolved by the Proliferation platform in FlowJo
How different cell populations are proliferating based on different stimulation conditions?
- Assay is compatible with immunophenotyping
Division Index?
Proliferation Index?
Some even want to isolate cells after a specific number of cell divisions.

## Slide 20: Cell Proliferation
Dye-Dilution Method: Anti-CD3/CD28 and PMA/ionomycin stimulated PBMCs
Day 0: CellTraceTM Violet staining,
Stimulation of proliferation
Day 3: Phenotyping (anti-CD19 and anti-CD3)
Flow cytometry (Dead cells/aggregates exclusion)
How different cell populations are proliferating based on stimulation conditions?
CellTraceTM Violet

## Slide 21: Cell Proliferation
Dye-Dilution Method & Staining of Cell Surface Markers
Day 0: CellTraceTM Violet staining,
Stimulation of proliferation
Day 6: Phenotyping (anti-CD19, anti-CD4 and-CD8)
Flow cytometry (Dead cells/aggregates exclusion)
How different cell populations are proliferating based on stimulation conditions?
CellTraceTM Violet
Non-stimulated PBMCs
Anti-CD3/CD28 stimulated PBMCs

## Slide 22: Cell Proliferation
Dye-Dilution Method: Stimulated PBMCs vs. cancer cell line U2OS
Day 0
Day 1
Day 2
Day 3
Day 4

## Slide 23: Cell Cycle/Proliferation Analysis
http://www.lifesci.dundee.ac.uk/technologies/flow-cytometry-cell-sorting/techniques/proliferation
Bromodeoxyurine (BrdU) vs. Click-iT EdU Assay
BrdU and EdU are thymidine analogs
Taken up by cells in S-phase
Usually in combination with PI, 7-AAD or DAPI stains

## Slide 24: Cell Cycle/Proliferation Analysis
Click-iT EdU Assay
DAPI
DAPI
EdU-Cy5
EdU-Cy5

## Slide 25: Apoptosis
Apoptotic Hallmarks for Apoptosis Detection
A decrease in cell size/shrinkage, nuclear condensation, blebbing
Externalisation of the lipid phosphatidyl serine (PS) from the inner to the outer plasma membrane
Disruption of Mitochondrial Membrane Potential
Activation of Caspases
Cleveage of DNA between nucleosomes
Live cells
Apoptotic cells
FSC ~ size of the cell
SSC ~ inner complexity
Apoptotic bodies and cell debris
„Sub G1“
Apoptotic cells
G1
S
G2/M
# events
Propidium iodide
Changes in light scattering properties during apoptosis and assessment of fractional DNA content (sub-G1 fraction)

## Slide 26: Apoptosis
Changes in the Plasma Membrane: Annexin V/PI assay
PI+ ~ fragments of dead cells
Annexin V FITC+ / PI- cells ~ early apoptotic
Annexin V FITC
Annexin V FITC- / PI-
~ live cells
Annexin V FITC+ a PI+ cells
~ late apoptotic/dead
Propidium iodid
Translocation of phosphatidylserine (PS) from the inner of the cell membrane to the outside. It is possible to detect PS by using FITC-labelled Annexin V. By combining staining of Annexin-FITC with propidium iodide, we can obtain a profile, where live cells are negative for both dyes, late apoptotic/dead cells are positive for both, while apoptotic cells are positive only for Annexin-FITC.

## Slide 27: Apoptosis
Changes in the Plasma Membrane: Annexin V/PI assay
Single cells
Propidium iodide
Annexin V/FITC
Annexin V/FITC
CCRF-CEM cells
control
5 nM doxourbicin

## Slide 28: Apoptosis
Changes in the Plasma Membrane: Annexin V/PI assay
Propidium iodide
Annexin V/FITC
Annexin V/FITC
control
5 nM doxourbicin

## Slide 29: Apoptosis
Changes in the Plasma Membrane: Annexin V/PI assay
Tips:
Annexin V binding to PS is reversible, so calcium must be present during the entire assay
Analysis should be carried out quickly after staining
Adherent cells removed by mechanical scraping or trypsin may flip their PS independent of apoptosis
FAN assay: permits to discriminate viable cells from cells undergoing apoptosis even after fixation, can be combined with phenotyping

## Slide 30: Apoptosis
Disruption of Mitochondrial Membrane Potential: JC-1 assay
https://www.biotek.com/resources/application-notes/fluorescent-detection-of-drug-induced-mitochondrial-toxicity/
JC-1 dye exhibits potential-dependent accumulation in mitochondria, indicated by a fluorescence emission shift from green to red fluorescence. Mitochondrial depolarization is indicated by a decrease in the red/green fluorescence intensity ratio.
Healthy non-apoptotic cells are detected in both FL1 and FL2 channels and cells with altered mitochondrial function due to apoptosis or other cellular processes remain bright in the FL1 channel, but have reduced FL2 intensity.

## Slide 31: Apoptosis
Disruption of Mitochondrial Membrane Potential: JC-1 assay
FSC
SSC
JC-1 monomers (green fluorescence)
JC-1 aggregates
(red fluorescence)
Positive control (CCCP, FCCP, valinomycin) and compensation required
CCCP controls should be used to confirm that the JC-1 response is sensitive to changes in membrane potential.

## Slide 32: Apoptosis
Detection of Activated forms of Caspases
CASPASES: A group of cysteine proteases, once activated during apoptosis (initiator caspases-8 and -9) cleave other enzymes (effector caspase-3, caspase-activated DNase) and cytoskeleton  cell dissasembly
Detection by antibodies that specifically recognize caspase-cleaved fragments (antibodies that recognize the cleaved form of caspase-3, -8, etc)
Flow cytometric analysis of apoptotic and non-apoptotic populations for active caspase-3. Jurkat cells were left untreated (left panel) or treated for 4 hr with camptothecin (right panel) to induce apoptosis. Cells were permeabilized, fixed, and stained for active caspase-3
FITC Active Caspase-3 Apoptosis Kit (BD Biosciences)

## Slide 33: Apoptosis
Detection of Activated forms of Caspases
NucView™ 405 Caspase-3 Substrate, 1 mM in DMSO, provides a convenient tool for detecting apoptosis in intact cells based on caspase-3/7 activity using flow cytometry. The staining is formaldehyde-fixable (Biotium Inc.)
Jurkat cells were treated with DMSO (negative control, blue) or 0.1 uM, 0.25 uM, or 1 uM staurosporine (red) to induce apoptosis
https://biotium.com/product/nucview-530-caspase-3-substrate-1-mm-in-dmso/
Multiplex enabled: can be combined with other fluorescent reagents to confirm apoptosis in the same cell or cell population
CellEventTM Caspase-3/7 Green Detection Kit (ThermoFisher Scientific)

## Slide 34: Apoptosis
Detection of Activated forms of Caspases
FLICA Caspase Assay detects active caspases inside the cell using Fluorochrome Inhibitor of Caspases (FLICA), cell-permeable and non-cytotoxic caspase inhibitors. FLICA probe covalently binds to activated caspases and then emits fluorescence. Multiplexing possible (propidium iodide, Annexin V staining). FLICAs withstand cell fixation (with 4% PFA) and subsequent cell permeabilization with 70% ethanol or methanol.
https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3863590/figure/F3/

## Slide 35: Immunophenotyping
Multicolor Flow Cytometry: Immunophenotyping
Uses labeled antibodies (Abs) to identify cells of interest
Determination of cell surface antigens
Allows for detailed identification of cellular subsets (simultaneously measure multiple parameters cell by cell)
Targets on both cell surface and intracellularly
CD3+
CD69+ CD25+
CD3+
CD19+
CD56+

## Slide 36: Immunophenotyping
Multicolor Flow Cytometry: Immunophenotyping
Eliminate the doublets
using a pulse geometry gate
(such as FSC-H x FSC-A)
Eliminate both dead cells and debris from your analysis
Include appropriate FMO controls
to identify the proper placement of a gate in a multi-color experiment
Apply compensation controls
For markers expressed at low levels use bright fluorochromes (APC, PE, Brilliant Violet™ dyes)

## Slide 37: Immunophenotyping
Doublet Exclusion
Remove the doublets to avoid:
False positives
Height or Width vs. Area
FSC-A
FSC-A
FSC-H
FSC-W

## Slide 38: Immunophenotyping
Dead Cell Discrimination
Remove the dead cells to avoid:
False positives due to autofluorescence
Increased non-specific antibody binding
Then also weak positive samples can be identified!
Dead cells cannot be reliably removed by FSC vs SSC gating
DNA dyes (PI, 7-AAD, SYTOX stains)
Excluded by live cells
Cannot be used with fixed cells
Protein binding (amino-reactive) dyes (Zombie series, BD Horizon™VPD450)
Fixation compatible
Bind both live and dead cells
Zombie NIR
FSC

## Slide 39: Immunophenotyping
Immunophenotyping & Apoptosis Detection
CD69 serves as a marker for the detection of T-cell activation by flow cytometric analysis.
T cell activation
buffy coats
PBMC
Activated T-cells
% of apoptotic T-cells
Ficoll gradient separation
Activation with anti-CD3, anti-CD28 and protein G (16 hrs)
Galectin-1 / TDG / lactose treatment (2 hrs)
Antibody staining (CD69, CD3)
Flow cytometric analysis of Annexin V+ cells
Experimental workflow

## Slide 40: Immunophenotyping
CD8
CD4
CD3
CD69
CD3+ cells
single cells
Immunophenotyping & Apoptosis Detection
CD69
Annexin V
CD3+ CD8+cells
CD3 – T lymphocytes (BUV385)
CD8 – cytotoxic T lymphocytes (APC-Cy7)
CD4 – helper T lymphocytes (BV421)
CD69 – early activation marker (PE-CF594)
Annexin V – apoptotic marker (FITC)
5-colour flow cytometric analysis:

## Slide 41: Immunophenotyping
Immunophenotyping & Apoptosis Detection
2.8 %
Galectin-1 buffer
21.5 %
21.3 %
8.6 %
Galectin-1 + 5 mM lactose (positive control)
Galectin-1
7.3 %
Galectin-1 + 5 mM TDG (positive control)
Galectin-1 + 5 mM maltose (negative control)
Annexin V
CD69

## Slide 42: Intracellular Analysis
Intracellular Staining
Staining of cell surface only
Easy, fast
No permeabilization required
Low background (for some cell types FcR blocking recommended)
Intracellular staining
Requires fixation and permeabilization
Higher background due to unspecific binding (isotype controls)
Both
Surface staining first, then fixation, permeabilization and intracellular staining

## Slide 43: Intracellular Analysis
Fixation
PFA or formaldehyde: used between 0.5% and 4%, crosslinks proteins, samples stable for up to 2 weeks, however must be stored at 4 C in PBS after initial fixation
70% Ethanol or methanol: fix & permeabilize, precipitate proteins (may hide the epitope), samples stable for months at -20 C
Tips:
Use cold fixatives
Gentle mixing helps to avoid clumping
Fixation may alter cell size and higher centrifugation speed may be needed

## Slide 44: Intracellular Analysis
Permeabilization
Detergent: chose the most appropriate method depending on protein target (consider its subcellular localization, size), used fluorophores (PE and APC are large proteins) - Saponin*, Digitonin, Triton X-100
Ethanol or methanol: fix & permeabilize (dissolves lipids), similarly to some antigens, protein fluorophores (APC, PE, PerCP, etc.) may also be EtOH fixation sensitive
Commercial reagents for both fixation & permeabilization available, work well in most cases (BD Cytofix/Cytoperm™)
* May need to be included throughout the protocol including the washing steps

## Slide 45: Intracellular Analysis
Intracellular Cytokine Staining (ICS) Assays
LPS, Brefeldin A
(16 h)
Brefeldin A
(16 h)

## Slide 46: Applications of Flow Cytometry
Thank you for your attention
Q & A
Acknowledgements
Alena Keprová
Alžběta Magdolenová
Jana Günterová